0

Performance Introduction

Light brand wind turbine is a low speed type which uses wind speed and wind direction sensors to realize the intelligent control. It will stop working when meets with over wind speed or over voltage and owns many advantages such as high working efficiency, easy maintenance and high reliability. The production is the idea small power equipment for farming and pasturing areas which lack regular resources but have abundant wind power, frontier defense sentry near islands and observatory station. It would be able to supply the stable electricity for the electric machines such as illuminant equipment, colorful television and navigation mark.

1.

Structural Characteristics

The light brand wind turbine set is composed of wind wheel, electrical combinations (including generator and gyro)，erecting pillar, hauling type tower, anemoscope, wind direction sensors and intelligent controllers etc.

  - Wind wheel: 3 leaves type, laminar flow aerofoil, high rising resistance ratio and good performance.

2.Generator and gyro: integrative design which combines the generator and gyro as a whole. Inter connected structure enhance the intensity and greatly reduce the material and the weight of head.

3.Wind speed and wind direction sensors transmit the digital signals to the controllers to realize the intelligent control. It will automatically adjust the windward angle and stop working when meet with over wind speed or over voltage.

4. Adopt larger inner diameter (800MM outer diameter of electric motor). The direct electric motor with multi-number of poles eliminates the speed-up box and improves the working efficiency of motor.

1

- Technical Index

# FD12-20KW

a.The diameter of wind wheel: 12M

b.Timing manner: automatically adjust the windward angle

c.Rating wind speed: 10M/S

d Rating voltage: 360V

e Rating power: 20KW

f Generator: three-phase magneto

g Rating rotate speed: 80R/MIN

h Slowing-down wind speed: 25M/S

.i Starting-up wind speed: 2.5M/S

j Overspeed protect form: Self-correcting the windward angle

K the way of turning directions:the examination of wind speed by the sensor, the controller output the sign of turning

L The height of tower: 18M

M Stopping working voltage: 480V

N Displaying items: liquid crystal ATM12864D to show the wind speed, voltage, current, alarm state, over voltage or lack of voltage of the battery, over wind speed and communication situation.

3 The list and use of system components

-------------------------------------------

First: there are two types of towers for selection; generally the customers make it by themselves. It can be referred to the following chart.

1 Dodecagonal tapering shape tower, with 400mm tip end diameter, 1500mm tail end diameter and 18m height.

Chart 2: microcephalic flange

Chart3: electric motor connects flange

2. Guyed tower, the diameter of steel tube is 377mm. It is divided into four periods and three guy ropes are used.

3 one set of dogvane. Function: examine the windward angle of the wind turbine. This part bears direction requirements in which all five fixing holes should be upward.

Erecting pole of anemoscope: Function: erecting the anemoscope.

one set of dogvane. Function: examine the windward angle of the wind turbine. This part bears direction requirements in which all five fixing holes should be upward.

Three sets of wind leaves, pressure pad and matched bolts are installed in wind leaf flange. It’s the component which changes the wind power into kinetic energy and the engine of the whole system.

One set of generator and gyro assembly. It contains generator, gyro

blade and flange plate

Dome is fixed in the wind leaves flange, to direct the core wind power to the leaves and make it fully used.

Intelligent controller. Function: the controlling center of wind turbine. It commutates the three-phase alternating current generated by the machine and exports the direct current to electricize the storage battery. Meanwhile it checks the working status of the storage battery and make out corresponding indications. It also receives the signals from the anemoscope and dogvane, do the relevant instructions and reflect all the estate.

4 Installation Procedure

Step 1: the Choice of the Installation Location

Wind power means the kinetic energy of moving wind. Wind turbine is the kind of equipment to transform the wind power to circumrotating kinetic power and than change it again to electric power. The equation of the wind power is the cube function of wind speed, which means per increment of 10% wind speed (for example from 9m/sec to 10m/sec), may increase the wind power by 37%, so does the same increasing rate of wind turbine power. Nearly in all installation fields, the higher the wind turbine stands, the faster the wind speed would be. Therefore, wind turbine should be set up as high as possible and try its best to be away from the barriers.

When selecting the locations, it’s necessary to consider the distance between the generator and the pile. The shorter the distance is, the less cable would be used. As a result, less energy waste would be produced during the transmission. While under the circumstances of longer distance, it’s better to use much thicker standard cable for the transmission.

The choice of the location will greatly influence the use of wind turbine!

Step 2: the Layout of Tower Frame, Base and Fastened Anchor.

tempering shape tower

1. Dig the pit first, 2M×2M×6M pit in the center of base.

2. Concrete C25 in the center, insert 20 foundation bolts. Please notice it should be in accordance with base holes.

Guyed shelf

1. Dig the pit first,  1M×1M×1M in the center of base.

2. Dig four 1.5x1x1 pits at four earth anchors, which can be seen in the following chart.

3. C25 concrete should be used. Four anchor bolts will be installed according to the holes on the base

Step 3: Assembly of Tower and Wind Turbine

1. Connect the upper and down parts of poling, assemble them well and place it on the iron shelf.

2.Rip the cable of generator and dogvane into the tower and elicit it on the exit near the grounding feet.

3.Secure the gyro flange and the tower flange with bolts and sling it with chain blocks. Please notice the axletree should be placed upside in order to set the leaves on it.

4. Add gear oils in speed-up box.

5. Steps for wind leaf flange fixing: firstly, clean the electric crankshaft and flange inner holes, including painting and burrs; secondly, match the bolt trough and set the flange, insert insurant piece and screw the nut, add one more nut and tighten it; finally, lock the security

part.

6. Install the wind leaves, cover the press board and screw the bolts. Be careful not to be too tight. Screw them down according to the order shown on Figure 1, 2, 3,4,5,6.

6. Cover the dome.

7. Infix the above aviation connector plugs to the jack under the dogvane and set the dogvane up.

Attention: The installation of dogvane needs direction requirements and all five holes should be upside.

STEP 4: Erecting the Tower

1.Operate the crane slowly.

2. In order to guarantee the safety, all staff should be away from the working spot (at least 20 meters away)

3. When erecting the tower, fasten the foundation bolts.

4. For guyed tower, fix the topside rope first and then go on with No.2 and No.3 guy ropes orderly.

5. Adjust the tight-loose controller finally to make the poling stand upright on the ground.

Step 5: Collocation, Placement and Connection of Storage Battery

1.Storage battery should be emplaced in dry buildings with invariable room temperature. The surrounding environment should open and ventilated. Confirm the total number of series-wound batteries and then design the shelf to store the batteries, controllers and invertors.

2.  20 sets of 800AH storage batteries would be recommended to match the FD12-20KW wind turbine.

3. Coat all connection parts with grease or other antiseptic material. Fuse should be set on the anode of the battery to avoid electromagnetic disturbance. The connecting leading wire between the storage batteries and controllers should be less than 3 meters.

Step 6: Connecting controllers, Anemoscopes and Invertors

1. Put the storage batteries in series. Connect the anode of first battery with the cathode of second one.

2. On the controllers, the anode of terminals marked “connect storage batteries” should be connected with the anode of last battery while the cathode should be connected with the first one’s cathode end.

3.There are two cables leading out from the head of generator. One is to test the wind direction signals, in which the aviation plug sticks into the matched socket directly. The other cable, which contains five wires, is to export the electricity and control the signals. Three thicker wires mark the output of generator and two thinner wires mark the export of controlled signals. All anodes and cathodes would be connected in the corresponding terminals behind the controllers.

4.Anemoscope should be deposited on the roof or other exposed area and should be vertical to the ground.

5.For the matched cable of anemoscope, one end could be inserted to the socket below the anemoscope and other end should be sticked into the relevant socket in the controllers.

6.When connecting the invertors, it should be noticed that the import voltage of invertors should be equal to the value of series-wound voltage.

7.The detailed parameters of invertors can be seen on the instruction manual

8.There are three electric wires that connect controller and accumulator, 0V，180V and 360V. The cathode of first battery connects 0V, the anode of fifteenth battery connects 180V and the anode of last battery connects 360V.

Note: All aviation sockets contain locating bolt trough.

Operation Instruction

1. The knob on the wind turbine panel should indicate the status of “automation” and “starting up”. Under the circumstances, the wind turbine will automatically track the wind direction when the wind speed is over 3M/S. It will also generate crosswind when the battery is full and automatically stop working when the wind speed is over operating limits.

2. When the wind speed is below 3M/S, the wind turbine is windward and certain power exported from the generator. We also expect power generate under the no-windward status, so if we set both “automatic drive” and “manual drive” to the later driver status and modulate “forward bias” or “backward bias” to reach the windward situation, and then change the machine to “automatic drive” again, the system will begin to generate the power.

3. When working in the areas where the wind direction is not stable at all, the wind turbine can be set on “manual drive” status. Therefore, “forward bias” or “backward bias” can be regulated to get with the wind and it won’t be stop automatically when the wind speed is too fast or the storage battery is full.

4. When there is no need for working, “automatic drive” and “manual drive” can be set on later status, so do the “starting-up” and “closing-down” buttons. The wind turbine will into the wind by leaf apex and stop working automatically.

5. LCD screen reflects the voltage of the battery, electrification current and real time wind speed, it also shows alarm status for excessive wind speed, excessive voltage and short of voltage, going with the alarming sound and relative light indications. The alarm can be canceled by pushing “cancel” and “enter” buttons twice continuously.

6. The wind turbine system is composed of anemoscope, dogvane, generator and gyro assembly, tower, controllers and storage battery.

7. Anemoscope is to inspect the real time wind speed and confirm the “working status” and “non-working status” by SBC. Under the former status, the system will into the wind and generate the power automatically. While the later status can be again divided into two states: “no wind state” or “over wind speed state”. During the first state, the system enter into sleeping situation while under the second state, it will send out the leeway instruction and stop working. The over wind speed is scheduled to be 25M/S and resuming speed is 20 M/S when the equipments leave the factory.

8 Dogvane is to transfer the windward angle to the controllers. When receiving it, controllers will send the signals to the leeway generator and stop yawing.

9. Under normal working status, the system will check the voltage of the storage battery constantly. It will alarm when meet with excessive voltage or lack of voltage and make out the stop working indications in the former state. The excessive voltage alarming limit is set to be 300V, canceling alarming voltage limit 280V and the short of voltage limit 210V when they leave the factory.

Attention: Anemoscope must be installed in the wind turbine, otherwise the system can not work properly.

Maintenance of the System

1. Inspect the electrolyte of the battery periodically (inundating the plate electrode). Distilled water or electrolyte need to be supplied when there is some shortage.

2. Check the degree of tightness of the newly installed machine after working for one month. Fasten it when it becomes flexible.

3. Examine whether the cable contains stranded wire regularly. The first reason for the accident is the malfunction of the anemoscope, and the second reason is the broken cable between the anemoscope and the controllers.